Build/Construct Over Asset	Urban Utilities

Referral Checklist	Developer Services

GPO Box 2765

BRISBANE QLD 4001

Phone: 07 3432 2200

urbanutilities.com.au/development

This checklist outlines the requirements for a Build/Construct Over Asset Referral and must accompany the referral lodged via the Urban Utilities Developer Services Portal (Portal).  All submissions must be complete and correct including detailed design drawings, reports and other necessary supporting documents.

To enable the Referral application to be ‘properly referred’ you are to accurately address all items in Section 3. If your application fails to comply with at least one (1) bold, shaded item in Section 3, and/or at least three (3) other applicable items in Section 3, your application will automatically be considered ‘not properly referred’ and an Action Notice will be issued.

To enable the Referral application to progress to Assessment, the ‘properly referred’ application should demonstrate/provide compliance on the submitted plans, drawings or associated documentation with all applicable items list in Section 4. If your application fails to comply with one (1) bold, shaded item and/or three (3) or more applicable other items in Section 4, your application may be refused.

Section 1. Application Details

Application Number reference for any water/sewer infrastructure alterations (if known)
e.g. 26-PNT-xxxxx; 26-WRQ-12345; 26-STD-xxxxx

Property address of works

Section 2. Contact Details

Person completing this form

Contact email

Direct contact telephone

By placing an X in this bracket [  ], I:

- confirm that the information provided in this Checklist is complete and accurate,

- confirm the complete Assessment Manager or RPEQ details will be entered in the Developer Services Portal for this application, and

- acknowledge that if the details between submitted documents do not match the Developer Services Portal, this application will not be considered ‘properly referred’ and will be returned to me to correct before it will be accepted.

Section 3. Referral Confirmation (Check for Completeness)

The following information supports the need for referrals to be in accordance with Urban Utilities Asset Protection Standards, Build Over Asset Referral Guidelines for Assessment Managers and other statutory and policy provisions.

If you need to add comments, please do so in the ADDITIONAL INFORMATION section below

| 3.1 | General criteria – all items to be lodged in the Portal (ALL items in 3.1 are critical criteria and must be provided for the application to be considered ‘properly referred’). | Applicant responses (Yes/No/NA*) | Urban Utilities only |
| --- | --- | --- | --- |
| 3.1.1 | Referral Applicant’s details are complete and accurate | Select | Select |
| 3.1.2 | Assessment Manager details are complete and accurate | Select | Select |
| 3.1.3 | Associated infrastructure details are provided and accurate | Select | Select |
| 3.1.4 | Scope of assessable building work is provided and accurate | Select | Select |
| 3.1.5 | Construction status of building work is identified | Select | Select |
| 3.1.6 | Real Property Descriptions for all affected property lots are identified | Select | Select |

| 3.2 | Supporting Documentation (Bold, shaded items are critical criteria and all must be provided for the application to be considered ‘properly referred’. If three or more other applicable items are missing/incomplete, the application will not be considered ‘properly referred’). | Applicant responses (Yes/No/NA*) | Urban Utilities only |
| --- | --- | --- | --- |
| 3.2.1 | A Confirmation Notice is provided for Build Over Asset referrals only | Select | Select |
| 3.2.2 | Architectural plans are provided (refer to Section 4 details) | Select | Select |
| 3.2.3 | Certified structural drawings and Form 15 are provided (refer to Section 4 details) | Select | Select |
| 3.2.4 | This completed Referral Checklist | Select | Select |
| 3.2.5 | Survey plan for the reconfiguration of the lot/s on this site are submitted | Select | Select |
| 3.2.6 | Easement documentation is provided | Select | Select |
| 3.2.7 | Pre-construction pipe location report is provided | Select | Select |
| 3.2.8 | Pre-assessment CCTV video and report is provided | Select | Select |
| 3.2.9 | Photo of existing water and/or sewer maintenance cover/s is provided | Select | Select |
| 3.2.10 | Copy of Residential Driveway Permit is provided | Select | Select |
| 3.2.11 | RPEQ certified Form 12 is provided | Select | Select |
| 3.2.12 | Architectural plans and structural drawings are consistent with each other, with spatially accurate infrastructure, building dimensions and location of building and foundation features. | Select | Select |

| 3.2.13 | Does the building or construction works require any alteration to existing water or sewer infrastructure? | Select | Select |
| --- | --- | --- | --- |

*NA=not applicable

ADDITIONAL INFORMATION – If needed, use this table to share further information on an above item

| Item# | Date | Applicant Comment | Urban Utilities Comment |
| --- | --- | --- | --- |

Section 4. Technical Assessment

The following information supports the need for referrals to be in accordance with Urban Utilities Asset Protection Standards, Build Over Asset Referral Guidelines for Assessment Managers or other statutory and policy provisions.

If you need to add comments, please do so in the ADDITIONAL INFORMATION section below

| 4.1 | Architectural Plans (If your application fails to demonstrate one (1) bold, shaded item and/or 3 or more applicable items below, your application may be refused.) | Applicant responses (Yes/No/NA*) | Urban Utilities only |
| --- | --- | --- | --- |
| 4.1.1 | Finished Floor Levels and Ground Levels are detailed in metres above Australian Height Datum (mAHD) | Select | Select |
| 4.1.2 | All existing and proposed sewer infrastructure is shown and spatially correct e.g. mains, maintenance covers and sewer property connections | Select | Select |
| 4.1.3 | All existing and proposed water infrastructure is shown and spatially correct e.g. mains, maintenance covers, water meters, hydrants | Select | Select |
| 4.1.4 | Building work and associated footings/bridging beams are clear of all water and sewer property connections and bends in PE water and sewer mains | Select | Select |
| 4.1.5 | Sewer maintenance covers have a clear zone and are open to the sky and property connections | Select | Select |
| 4.1.6 | The depth of the property connection junction is below any proposed removable sections | Select | Select |
| 4.1.7 | Elevations and/or Sections are detailed | Select | Select |
| 4.1.8 | Cut and fill extents and depths are detailed | Select | Select |
| 4.1.9 | Water meters and hydrants are clear of driveways | Select | Select |
| 4.1.10 | Sewer maintenance covers are not covered/buried and surface water is free draining at ground level | Select | Select |
| 4.1.11 | Access to sewer PC is required (1.5m x 1.5m easily removable section) if deck more than 1.2m above the finished ground level deep | Select | Select |
| 4.1.12 | Access from street is 1m wide x 2.4m high access to sewer maintenance holes (manholes) or property connections. | Select | Select |

*NA=not applicable

ADDITIONAL INFORMATION – If needed, use this table to share further information on an above item

| Item# | Date | Applicant Comment | Urban Utilities Comment |
| --- | --- | --- | --- |

If you need to add comments, please do so in the ADDITIONAL INFORMATION section below

| 4.2 | Structural Drawings (If your application fails to demonstrate one (1) bold, shaded applicable item and/or 3 or more applicable items below, your application may be refused.) | Applicant responses (Yes/No/NA*) | Urban Utilities only |
| --- | --- | --- | --- |
| 4.2.1 | All existing and proposed sewer infrastructure is shown and spatially correct e.g. mains, maintenance covers and sewer property connections | Select | Select |
| 4.2.2 | All existing and proposed water infrastructure is shown and spatially correct e.g. mains, maintenance covers, water meters, hydrants | Select | Select |
| 4.2.3 | Building work and footings/bridging beams are clear of all water and sewer property connections | Select | Select |
| 4.2.4 | Site specific sections are provided which demonstrate the actual vertical clearance which will be achieved beside and above the sewer infrastructure | Select | Select |
| 4.2.5 | Site specific sections are provided which demonstrate the actual vertical clearance which will be achieved beside and above the water infrastructure | Select | Select |
| 4.2.6 | All footings are located and founded as specified in Urban Utilities’ Asset Protection Standard | Select | Select |
| 4.2.7 | Sewer maintenance covers are not covered/buried and surface water is free draining at ground level | Select | Select |
| 4.2.8 | Longitudinal section of sewer main is provided | Select | Select |
| 4.2.9 | Longitudinal section of water main is provided | Select | Select |
| 4.2.10 | Access to sewer property connection through concrete slab by easily removable sections | Select | Select |
| 4.2.11 | Access to sewer property connection through deck <1.2m high by easily removable sections | Select | Select |
| 4.2.12 | 1m wide x 2.4m high access from the street frontage to all sewer maintenance covers and sewer property connections | Select | Select |
| 4.2.13 | Details of retaining walls are provided (including heights, materials and surface levels) | Select | Select |
| 4.2.14 | Details of existing constructed footings are provided | Select | Select |

*NA=not applicable

ADDITIONAL INFORMATION – If needed, use this table to share further information on an above item

| Item# | Date | Applicant Comment | Urban Utilities Comment |
| --- | --- | --- | --- |